## Rekap Kalibrasi
REKAP DATA KALIBRASI: SILOAM HOSPITALS BALIKPAPAN
REKAP DATA KALIBRASI
NO | JENIS | NO. LABEL | NAMA ALAT | MERK | TIPE | SN / SERI | NAMA RS | TANGGAL | RUANGAN | GEDUNG | LANTAI | BARCODE | CATATAN | KETERANGAN
1 | KAL | 1082750 | Ultrasonography / Ultrasonograph / USG ECHO | Philips | Affiniti 79 | US724F2233 | Siloam Hospitals Balikpapan | 04 Juli 2026 | OT | Utama | 3 |  |  | Laik Pakai
2 | KAL | 1082751 | Antidecubitus Bed Mattress / Decubitus | CSZ | Hemotherm | 194-11347CE | Siloam Hospitals Balikpapan | 04 Juli 2026 | OT 3 | Utama | 3 |  |  | Laik Pakai
3 | KAN | 1082752 | Suction Machine, Suction Pump, Suction | Cheiron | Victoria | V22330 | Siloam Hospitals Balikpapan | 04 Juli 2026 | OT 3 | Utama | 3 |  |  | Laik Pakai
4 | KAL | 1082753 | Electro Surgical Unit / ESU / Surgical Diathermy/Electrocauter/Electrocautery/Diatermi | Storz | autocon iii 400 | 40101776 | Siloam Hospitals Balikpapan | 04 Juli 2026 | OT 2 | Utama | 3 | max cut 400, 120 coag |  | Laik Pakai
5 | KAL | 1082754 | Electro Surgical Unit / ESU / Surgical Diathermy/Electrocauter/Electrocautery/Diatermi | Bowa | Arc 350 | 35002753 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT 2 | Utama | 3 |  | cut 200 coag 120 | Laik Pakai
6 | KAL | 1082755 | Electro Surgical Unit / ESU / Surgical Diathermy/Electrocauter/Electrocautery/Diatermi | WEM | SS-501 SX | CAC0003073 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT 4 | Utama | 3 |  | max cut 400 coag 120 | Laik Pakai
7 | KAL | 1082756 | Electro Surgical Unit / ESU / Surgical Diathermy/Electrocauter/Electrocautery/Diatermi | Bowa | Arc 303 | 30305597 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT 4 | Utama | 3 |  | max cut 300 coag 120 | Laik Pakai
8 | UJI | 1082757 | Harmonic Scalpel | Ethicon | Endo Surgery | 1111704042 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT | Utama | 3 |  |  | Laik Pakai
9 | KAL | 1082759 | Neurosurgery - Microscope | Zeiss | S100 | 6627201590 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT | Utama | 3 |  |  | Laik Pakai
10 | KAL | 1082758 | Neurosurgery - Microscope | Zeiss | Opmi 1 FR pro | 663532958 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT | Utama | 3 |  |  | Laik Pakai
11 | KAL | 1082790 | Endosurgery Tower | Olympus | CLL-S700 | 7302264 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT | Utama | 3 |  |  | Laik Pakai
12 | KAL | 1082791 | Endoscopy Tower | Storz | xenon nova 175 | W2677376-P | Siloam Hospitals Balikpapan | 05 Juli 2026 | OT | Utama | 3 |  |  | Laik Pakai
13 | UJI | 1082792 | Automatic Eye Chart Projector/ Snellen chart | Topcon | ACP-8 | AG2000189 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
14 | KAL | 1082359 | Head Lamp / Headlight | Riester | ri-focus light | HR-01-OPD | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
15 | KAL | 1082794 | ENT / THT Unit & Chair | mega | NET-1100 | 14P260DLC0102 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
16 | KAL | 1082793 | Head Lamp / Headlight | Riester | ri-focus led | HR-02-OPD | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
17 | UJI | 1082440 | Electro Surgical Unit / ESU / Surgical Diathermy/Electrocauter/Electrocautery/Diatermi | Alsatom | SU 50 MPC | 927-10/11 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
18 | KAL | 1082441 | Defibrillator / DC-Shock | Mindray | Beneheart D3 | DG-1A004459 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
19 | KAL | 1082442 | Ultrasonography / Ultrasonograph / USG | Mindray | DP-50 | PP-39005821 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
20 | KAL | 1082443 | Ultrasonography / Ultrasonograph / USG | SIUI | CTS-415A | L69110210268 | Siloam Hospitals Balikpapan | 05 Juli 2026 | ESWL | Utama | 2 |  |  | Laik Pakai
21 | KAL | 1082444 | Ultrasonography / Ultrasonograph / USG | Philips | Innosight | C5A6PK0017 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
22 | KAL | 1082381 | Ultrasonography / Ultrasonograph / USG | Mindray | DC-40 | CT7-92000139 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 6 |  |  | Laik Pakai
23 | KAL | 1082445 | Ultrasonography / Ultrasonograph / USG | GE | Voluson P8 | VP8004384 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 6 |  |  | Laik Pakai
24 | KAL | 1082446 | Ultrasonography / Ultrasonograph / USG | Mindray | DC-40 | CT7-92000140 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 6 |  |  | Laik Pakai
25 | KAL | 1082447 | Echocardiography / Echocardiogram / Echo / USG Echo | Philips | Affiniti 30 | US925E0433 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 1 |  |  | Laik Pakai
26 | KAL | 1082448 | Ultrasonography / Ultrasonograph / USG | GE | Voluson P8 | VP8207712 | Siloam Hospitals Balikpapan | 05 Juli 2026 | OPD | Utama | 1 |  |  | Laik Pakai
27 | KAN | 1052440 | Adult Scale, Timbangan dewasa | KRIS | - | JW1220211201 | Siloam Hospitals Balikpapan | 08 Juli 2026 | IPD 8 | Utama | 8 |  | max 180 r 0,05 | Laik Pakai
28 | KAN | 1052442 | Pump Device | Mindray | Benefusion uVP | SM1-4C029182 | Siloam Hospitals Balikpapan | 08 Juli 2026 | IPD 8 | Utama | 8 | infus |  | Laik Pakai
29 | KAN | 1052443 | Pump Device | Mindray | Benefusion uSP | SM3-51038957 | Siloam Hospitals Balikpapan | 08 Juli 2026 | IPD 8 | Utama | 8 |  | syringe | Laik Pakai
30 | KAN | 1052444 | Adult Scale, Timbangan dewasa | GEA | EB9380H | TD-001-IPD6 | Siloam Hospitals Balikpapan | 08 Juli 2026 | IPD 6 | Utama | 6 |  | max 150 r 0,1 | Laik Pakai
31 | KAN | 1082390 | Baby Scale/infant scale/timbangan bayi | Onemed | OD231B | TB-001-LDS | Siloam Hospitals Balikpapan | 08 Juli 2026 | LDS | Utama | 6 |  | max 25 r 0,05 | Laik Pakai
32 | KAN | 1082391 | Adult Scale, Timbangan dewasa | GEA | EB9380H | TD-001-LDS | Siloam Hospitals Balikpapan | 08 Juli 2026 | LDS | Utama | 6 |  | max 150 r 0,1 | Laik Pakai
33 | KAN | 1052448 | Adult Scale, Timbangan dewasa | seca | 703 | 5703204131202 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 150 r 0,05 | Laik Pakai
34 | KAN | 1052449 | Adult Scale, Timbangan dewasa | seca | 703 | 5703185137926 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 150 r 0,05 | Laik Pakai
35 | KAN | 1082392 | Adult Scale, Timbangan dewasa | seca | 703 | 5703185137921 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 150 r 0,05 | Laik Pakai
36 | KAN | 1082393 | Adult Scale, Timbangan dewasa | seca | 703 | 5703309102286 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 150 r 0,05 | Laik Pakai
37 | KAN | 1082394 | Baby Scale/infant scale/timbangan bayi | Tanita | 1380 | TB-01-OPD6 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 20 r 0,05 | Laik Pakai
38 | KAN | 1082395 | Baby Scale/infant scale/timbangan bayi | seca | 727 | 10000000026437 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 20 r 0,005 | Laik Pakai
39 | KAN | 1082396 | Adult Scale, Timbangan dewasa | seca | 703 | 5703204131206 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 150 r 0,05 | Laik Pakai
40 | KAN | 1082397 | Adult Scale, Timbangan dewasa | seca | 786 | 5786044146155 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 150 r 0,5 analog | Laik Pakai
41 | KAN | 1082398 | Baby Scale/infant scale/timbangan bayi | lokal | - | TB-02-OPD6 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 20 r 0,05 | Laik Pakai
42 | KAN | 1082399 | Baby Scale/infant scale/timbangan bayi | seca | 727 | 10000000030056 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 6 | Utama | 6 |  | max 20 r 0,005 | Laik Pakai
43 | KAN | 1048310 | Adult Scale, Timbangan dewasa | GEA | EB9380H | TD-01-IPD5 | Siloam Hospitals Balikpapan | 08 Juli 2026 | IPD 5 | Utama | 5 |  | max 150 r 0,1 | Laik Pakai
44 | KAN | 1048311 | Adult Scale, Timbangan dewasa | seca |  | 5755239119258 | Siloam Hospitals Balikpapan | 08 Juli 2026 | Cathlab | Utama | 3 |  | analog | Laik Pakai
45 | KAN | 1048312 | Adult Scale, Timbangan dewasa | Yamamoto Giken | ZT-120 | TD-01-HD | Siloam Hospitals Balikpapan | 08 Juli 2026 | Hemodialisa | Utama | 3 |  | 120/1 | Laik Pakai
46 | KAN | 1048313 | Adult Scale, Timbangan dewasa | KRIS | - | TD-02-HD | Siloam Hospitals Balikpapan | 08 Juli 2026 | Hemodialisa | Utama | 3 |  | 150,0.05 | Laik Pakai
47 | KAL | 1048207 | Autoclave/Steam Sterilizer/High temp sterill | Getinge | Solsus 66 | 8AA201060 | Siloam Hospitals Balikpapan | 08 Juli 2026 | CSSD | Utama | 3 |  |  | Laik Pakai
48 | KAL | 1048208 | Autoclave/Steam Sterilizer/High temp sterill | Getinge | 533HC | URA010031 | Siloam Hospitals Balikpapan | 08 Juli 2026 | CSSD | Utama | 3 |  |  | Laik Pakai
49 | KAL | 1048209 | Autoclave/Steam Sterilizer/High temp sterill | ASP | Sterrad 100S | 61204818 | Siloam Hospitals Balikpapan | 08 Juli 2026 | CSSD | Utama | 3 |  |  | Laik Pakai
50 | KAL | 1082549 | Adult Scale, Timbangan dewasa | GEA | ZT-120 | TDRAD01 | Siloam Hospitals Balikpapan | 08 Juli 2026 | Radiologi | Utama | 2 |  |  | Tidak Laik Pakai
51 | KAL | 1082520 | Adult Scale, Timbangan dewasa | seca | 703 | 10000001467783 | Siloam Hospitals Balikpapan | 08 Juli 2026 | MCU | Utama | 2 |  | max 150 r 0,05 | Laik Pakai
52 | KAN | 1082521 | Adult Scale, Timbangan dewasa | KRIS | - | TDMCU01 | Siloam Hospitals Balikpapan | 08 Juli 2026 | MCU | Utama | 2 |  | max 150 r 0,05 | Laik Pakai
53 | KAN | 1082522 | Adult Scale, Timbangan dewasa | seca | 703 | 10000001600790 | Siloam Hospitals Balikpapan | 08 Juli 2026 | IGD | Utama | 2 |  | 150,0.05 | Laik Pakai
54 | KAN | 1082523 | Adult Scale, Timbangan dewasa | KRIS | - | TDOPD201 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 2 | Utama | 2 |  |  | Laik Pakai
55 | KAN | 1082524 | Adult Scale, Timbangan dewasa | GEA | - | TDOPD202 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 2 | Utama | 2 |  | 136/0,5 | Laik Pakai
56 | KAN | 1082526 | Adult Scale, Timbangan dewasa | seca | 703 | 5703309102194 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 2 | Utama | 2 |  | max 150 r 0,05 | Laik Pakai
57 | KAN | 1082527 | Adult Scale, Timbangan dewasa | KRIS | - | TDOPD203 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 2 | Utama | 2 |  |  | Laik Pakai
58 | KAN | 1082580 | Adult Scale, Timbangan dewasa | KRIS | - | TD-004-OPD | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 2 | Utama | 2 |  |  | Laik Pakai
59 | KAN | 1082581 | Adult Scale, Timbangan dewasa | Elitech | Digit-One | TD01222A01093 | Siloam Hospitals Balikpapan | 08 Juli 2026 | Laboratorium | Utama | 1 |  | 150/0,1 | Laik Pakai
60 | KAN | 1082582 | Adult Scale, Timbangan dewasa | seca | 703 | 10000001600794 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 1 | Utama | 1 |  |  | Laik Pakai
61 | KAN | 1082583 | Adult Scale, Timbangan dewasa | KRIS |  | TD-001-OPD1 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 1 | Utama | 1 |  |  | Laik Pakai
62 | KAN | 1082584 | Baby Scale/infant scale/timbangan bayi | seca | 727 | 10000001763956 | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 1 | Utama | 1 |  |  | Laik Pakai
63 | KAN | 1082585 | Sphygmomanometer / Tensimeter | Omron | HEM-7156 | 202202040521V | Siloam Hospitals Balikpapan | 08 Juli 2026 | OPD 2 | Utama | 2 |  |  | Laik Pakai
64 | KAL | 140903 | Oximeter Pulse / Pulse Oximeter / Oximeter | yobekan | YBK303 | PO-001-MCU | Siloam Hospitals Balikpapan | 08 Juli 2026 | MCU | Utama | 2 |  |  | Laik Pakai
65 | KAL | 140904 | Oximeter Pulse / Pulse Oximeter / Oximeter | Elitech | FOX-2 | FX215BD0960 | Siloam Hospitals Balikpapan | 08 Juli 2026 | MCU | Utama | 2 |  |  | Laik Pakai
66 | KAL | 140911 | Oximeter Pulse / Pulse Oximeter / Oximeter | yobekan | YBK303 | PO-002-MCU | Siloam Hospitals Balikpapan | 08 Juli 2026 | MCU | Utama | 2 |  |  | Laik Pakai
67 | KAL | 1082587 | Oximeter Pulse / Pulse Oximeter / Oximeter | Mindray | PM-60 | CR-18132816 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Radiologi | Utama | 2 |  |  | Laik Pakai
68 | KAN | 1082588 | Sphygmomanometer / Tensimeter | Riester | Big Ben Round | 191142596 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Radiologi | Utama | 2 |  |  | Laik Pakai
69 | KAL | 1082589 | X-Ray General | Philips | Digital Diagnost C90 | 72471A290527 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Radiologi | Utama | 2 |  |  | Laik Pakai
70 | KAL | 1082570 | X-Ray Dental Panoramic,X-Ray Panoramic | Carestream | CS2200 | GFYQ004 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Radiologi | Utama | 2 |  |  | Laik Pakai
71 | KAL | 1082571 | X-Ray Dental Panoramic,X-Ray Panoramic | Planmeca | ProMax | RPXV2054939 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Radiologi | Utama | 2 |  | panoramic | Laik Pakai
72 | KAL | 1082572 | X-Ray Mobile | GE | Brivo XR 115 | 11930DX5 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Radiologi | Utama | 2 |  |  | Laik Pakai
73 | KAL | 1082573 | X-Ray Angiografi,Cathlab | Philips | MRC 200 | 402864 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Cathlab | Utama | 3 |  | Kv 73 | Laik Pakai
74 | KAL | 1082574 | Injector Contrast | LF | - | CI1110C027 | Siloam Hospitals Balikpapan | 09 Juli 2026 | Cathlab | Utama | 3 |  |  | Laik Pakai
75 | KAL | 1082576 | Laryngoscope/ video laryngoscope | Redpine | RP-IPD-V800 | 0003 | Siloam Hospitals Balikpapan | 10 Juli 2026 | OT | Utama | 3 |  |  | Laik Pakai
76 | KAL | 1082577 | Endoscopy THT | Sometech | Dr Camscope Pro LED | DCSW-250-009 | Siloam Hospitals Balikpapan | 10 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
77 | KAL | 1082578 | Baby Hearing Test Equipment / OAE | interacoustic | OtoRead | IA3007690 | Siloam Hospitals Balikpapan | 10 Juli 2026 | OPD | Utama | 2 |  |  | Laik Pakai
Generated by dhimasr.my.id